## Slide 1: Biomedical Measurement using NIR-light
seminar＠Hase
2012/06/28

## Slide 2: NIR-wave
Biomedical Measurement
・Good penetration
・Low invasive
・Small size, low price (equipment)
problem
attenuation
Rayleigh scattering
Absorption
Signal Intensity is proportional to

## Slide 3
1. Quantitative comparison of contrast and imaging depth of ultrahigh-resolution optical coherence tomography images in 800–1700 nm wavelength region. Shutaro Ishida, Norihiko Nishizawa. BIOMEDICAL OPTICS EXPRESS 282 3 No.2 ( 2012 )
3. Multiphoton Microscopy of Ex Vivo Corneas after Collagen Cross-Linking. Juan M. Bueno,Emilio J. Gualda,Anastasia Giakoumaki,Pablo Pe´rez-Merino,Susana Marcos,and Pablo Artal. Investigative Ophthalmology & Visual Science 52 No. 8 ( 2011)
2. Dentin micro-architecture using harmonic generation microscopy. R. Elbaum, E. Tal, A.I. Perets, D. Oron, D. Ziskind, Y. Silberberg, H.D. Wagner. journal of dentistry 35 150 – 155 (2007)

## Slide 4: TD-OCT（time-domain optical coherence tomography）
OCT distribution of reflect signal intensity
axial resolution

## Slide 5: Setup
・supercontinuum sources at five wavelengths
800 nm - Ti:sapphire laser (Spectra Physics Mai-Tai HP)
1060 nm - Nd:glass laser (High Q Laser Production)
1300 nm - Er-doped fiber laser (IMRA femtolite B-5)
1550 nm - Er-doped fiber laser (custom-made)
1700 nm - Er-doped fiber laser (IMRA femtolite B-5)
・SC spectra fit in the valleys or flat regions of the water absorption spectrum (except for 1550nm)

## Slide 6: Result (1) : memory card
industrially used materials
↓
depend on scattering
Lower slope
Longer wavelength
Rayleigh scattering
theory

## Slide 7: Result (2) : pig trachea
pig trachea → depend on absorption and scattering
The solid red line shows the slope at the mucosa layer.
The total attenuation coefficient is highest at 800 nm.
absorption by hemoglobin
At longer wavelengths, the total attenuation coefficient increased.
absorption by water
The image contrast was much clearer at 1700 nm than at the other wavelengths.
epithelium
mucosa
cartilage

## Slide 8: Result (3) : Total attenuation coefficients
industrially used materials
biomedical samples
attenuation
scattering
attenuation
absorption
and
scattering
・The total attenuation were
well-fitted to the dependence
・The longer-wavelength system is useful
・The enamel and dentine layers
→same characteristics as the industrial samples
→low absorption by water in human teeth
・The mucosa layer
→ dependent on the sum of
absorption and scattering
・There is a trade-off between imaging contrast
and total attenuation coefficient

## Slide 9: Summary
・TD-OCT using supercontinuum sources at five wavelengths
・There have been no studies comparing the performance of
ultrahighresolution optical coherence tomography (UHR-OCT)
for the same sample over a wide wavelength range
This author investigated the wavelength dependence of the
images for several different samples and quantitatively compared
their optical properties.
800 nm
1060 nm
1300 nm
1550 nm
1700 nm

## Slide 10: Tooth & dentin
・Tubule is ﬁlled with the odontoblast cytoplasmatic ﬂuid
・PTD → 10% by volume of collagen, mineralized thin cylinder
・ITD contains about 30 volume percent mineralized collagen Type I ﬁbrils,
wrapped around perpendicularly to the tubule long axis.
Dentin
・ (dentinal) Tubule
・Peritubular dentin (PTD)
・intertubular dentin(ITD)

## Slide 11: Setup of HGM
PMT
Sample
two optical
scanners
Objective
OPAL Laser
Linearly polarized, 100 fs pulses
wavelength of 1.5 μm
Repetition rate of 80 MHz
Zeiss Axiovert-135 microscope
Lock-in
amplifier
sample
Thin sections of about 200 μm
Each sections were sonicated for
45 min in solution
before HGM measurement.

## Slide 12: THG(third harmonic generation)
THG
reversed E in non-centrosymmetric materials
reversed P
incident
polarization
THG signal is generated by every material.

## Slide 13: THG(third harmonic generation)
・THG signal generated before the focus of the excitation beam destructively interferes
with the signal generated behind the focal plane.
Guoy phase shift
phase → π
shift
phase shift @ before and after focal point
THG will be generated speciﬁcally at interfaces between materials of different third order nonlinear susceptibilities

## Slide 14: Result (1) : THG, SHG, ESEM
ESEM → variation in the mineralization level → tubules = black
PTD = white
ITD = gray
・The average radius of the lumen is about 0.9 μm.
・The spatial resolution of the THG image is about 1 μm.
・This means that a feature of about 0.9 mm in radius, like the lumen, will appear as ~1.5 μm
in radius.
・The THG image displays bright circular features with an average radius of 1.54 μm.
SHG → They contain much less collagen than the ITD
→ the tubules and the PTD appear in black
1.0 μm
0.9 μm
1.4 μm
THG
lumen
THG signal was created only at the lumen–PTD interface and not at the PTD–ITD interface

## Slide 15: Result (2) :Overlays of SHG and THG images
・The direction of the tubules in relation to
the sample surface was found to inﬂuence
the image quality.
Tubules ⊥ sample surface
Maximal SHG signal is obtained when the laser
light polarization is parallel to the collagen ﬁbrils.
Strong SHG signal
different region
(c) → dentin enamel junction (DEJ)
Collagen ﬁbrils lie parallel to
the tubules long axis
DEJ
Strong SHG signal

## Slide 16: Result (3) :3D reconstruction
THG+SHG
THG
SHG
THG
・The tubules lie parallel to each other
・The tubules appear to narrow towards the bottom → loss of the signal at increased depths
SHG
High intensity signal = parallel to the tubules long axis
→ Such structures may be important with respect to the
mechanical properties of the dentin
These structures could not be visualized in the 2D data.

## Slide 17: Summary
・This work presents the micro-architecture of tooth dentin reconstructed from harmonic
generation micrographs.
・The major advantage over other imaging methods is the ability to locate features within
the dentin 3D space.
・The information includes two features: The tubule surfaces, observed using THG signal,
and collagen, observed through SHG signal.
・This method may be incorporated in many topics related to the research on dentin,
such as the hybridization of dentin with artificial materials, primary dentin development
versus secondary dentin, dentin bacterial infection, and crack formation.

## Slide 18: Cornea
epithelium
Bowman layer
stroma
Descemet layer
endothelium
random
thin
Collagen layer
regular collagen layer
keratocyte
Cornea
Eye

## Slide 19: collagen cross-linking (CXL) treatment
CXL treatment
riboflavin-dextran + UVA irradiation
This treatment increases corneal stiffness,
slowing down the keratoconus progression
before
after
Ref) Gregor Wollensak, MD, Eberhard Spoerl, PhD, Theo Seiler, MD. J Cataract Refract Surg 2003; 29:1780 –1785

## Slide 20: Setup
Ref) Juan M. Bueno, PhD, Emilio
J. Gualda, PhD, and Pablo Artal, PhD.
Cornea 2011;30:692–701
WA control module → wavefront sensor + deformable mirror
wavefront
lens array
CCD
measuring
aberrations
Hartmann-Shack (HS) wavefront sensor
deformable mirror

## Slide 21: Result
arrangement of the collagen fibers
did not change with time
SHG images of corneal stroma at different depths
captured at 0, 2, and 3 hours in an untreated porcine eye
except for some minor modifications
at deeper imaged areas after 3 hours.
Regular orientation
Random destribution
untreated porcine cornea (upper panel) and
after CXL (lower panels)
・The arrangement of the stromal collagen
ﬁbers lying mostly parallel to the corneal
surface of untreated corneas is lost with the CXL

## Slide 22: Result：Nonlinear (XZ) tomography images of porcine corneas
another sample
after
one hour

## Slide 23: Result: Effects of riboflavin-dextran instillation in a porcine cornea
・Riboflavin is not only responsible for the reduction of
corneal thickness, but also for the majority of the changes
in the corneal stromal collagen arrangement after CXL.
100 μm
150 μm
before
after
Every ten minutes
・A progressive reduction of the corneal
thickness with time is observed
the dehydration effect of the
riboflavin solution

## Slide 24: Summary
・A research adaptive optics nonlinear microscope has been used to visualize the structural changes in the corneal stroma after CXL treatment in bovine and porcine ex vivo eyes.
・This author have shown structural alterations of CXL-treated corneas, which confirms the potential of this imaging modality for the analysis of the effects of this treatment.

## Slide 25: Conclusion
・For a biomedical sample, I have to notice about
wavelength dependence of the attenuation.
・Tooth is good sample in my study because of effect of absorption of water.
・I have to consider as what kind of tool SHG can be used.