## Slide 1: Rapid and high signal to noise ratio dual frequency comb spectroscopy
2014 / 5 / 21 M2 Ichikawa

## Slide 2
A. Schliesser, M. Brehm, and F. Keilmann, “Frequency-comb infrared spectrometer for rapid, remote chemical sensing”, Opt. Express 13, 9029 (2005).
F. Zhu, T. Mohamed, J. Strohaber, A. A. Kolomenskii, Th. Udem, and H. A. Schuessler, “Real-time dual frequency comb spectroscopy in the near infrared”, Appl. Phys. Lett., 102, 121116 (2013).
A. M. Zolot, F. R. Giorgetta, E. Baumann, J. W. Nicholson, I. Coddington, and N. R. Newbury, “Direct-comb molecular spectroscopy with accurate,resolved comb teeth over 43 THz”, OPTICS LETTER, 37, 638(2012).

## Slide 3: Fourier transform spectroscopy
time
Intensity
Temporal window
frequency
amplitude
Temporal wave
Frequency spectrum
Spectrum resolution
Fourier
Transform
spectrum resolution＝
1 / temporal window
Accuracy ＝
Precision of time delay

## Slide 4: Dual frequency comb spectroscopy
Time domain
fs LASER1
fs LASER2
detector

## Slide 5: Dual frequency comb spectroscopy
Time domain
fs LASER1
fs LASER2
detector
few ten fs
few ns
few ten μs
few ms
Interferogram
×

## Slide 6: Dual frequency comb spectroscopy
Down conversion factor
Frequency domain
2Δf
3Δf
……
Δf
Optical frequency
……
Radio frequency
Δf
2Δf
3Δf
frep1
frep2
Δf
・high resolution
・fast spectroscopy
・simple optical system

## Slide 7
Not need!!
(long waiting time)
This part is need.
In this letter, they changed repetition frequency to accelerate spectrum repetition.
“Frequency-comb infrared spectrometer for rapid, remote chemical sensing”

## Slide 8: Setup
Ti : S Laser
・Center wavelength : 800nm
・Pulse width : 10fs
・Average power : 500mW
・Repetition rate : 125.130MHz
Detector : HgCdTe detector
Emitter : GaSe crystals

## Slide 9: Interferogram and spectrum
temporal window is 70μs (16μs displayed).
Δ = 29.93Hz.
Dotted : background.
Black : transmittance.
Red : conventional FTIR
(60s acquisition time and 32spectra averaged).
Resolusion : 2cm-1.

## Slide 10: Accelerate spectrum repetition
Method C is changing the value of Δ(=frep1 – frep2 ) after an interferogram recording, by manipulation of one of the laser’s repetition frequency. = no waiting time

## Slide 11: Accelerate spectrum repetition
Time delay direction
Time delay direction
0 < Δ
Δ < 0
Only this part is obtained without wait time.

## Slide 12: Setup for remote sensing
labratory
outside
30m
Concave mirror
NH3

## Slide 13: Result
3000 spectra
Record time = 3.15 s
Δ = 14 Hz to - 13.6 Hz
950 spectra / s

## Slide 14: Summary
950 spectra repetition rate attained by manipulating the repetition rate of one laser.
Signal dose not depend on propagation phase or mild beam deviation by turbulence.

## Slide 15
F. Zhu, T. Mohamed, J. Strohaber, A. A. Kolomenskii, Th. Udem, and H. A. Schuessler, “Real-time dual frequency comb spectroscopy in the near infrared”, Appl. Phys. Lett., 102, 121116 (2013).

## Slide 16: Setup
Comb1
Er-doped fiber laser
Power : 25 mW
Pulse width : 70 fs
Comb2
Er-doped fiber amplifier
Power : 500 mW
Pulse width : 90 fs
・Repetition rate : 250 MHz is locked
・CEO frequencies are not stabilized

## Slide 17: Interferogram
Δ = 1807 Hz, 40μs
Δ =4403 Hz, 4μs

## Slide 18: Fourier spectra
Blue : filtering between 6280 ～6625cm-1
maroon : filtering between 6460 ～6625cm-1
When selecting only the fingerprint spectral region, ～6 times stronger signal is obtain.

## Slide 19: Rapid spectroscopy
40 μs interferogram,
Δ = 1807 Hz
4 μs interferogram,
Δ = 4403 Hz
(a) :
Resolution : 0.11 cm-1
Spectral elements : 1500
Most intensity line’s SNR : 30
(b) :
Resolution : 0.47 cm-1
Spectral elements : 351
Most intensity line’s SNR : 80
HITRAN
HITRAN
measurement
measurement

## Slide 20: Summary
By used grating based spectral filter in a 2f-2f setup, increased the signal to noise ratio.
The difference between the repetition rates is 4403 Hz and measurement time is 4 μs.

## Slide 21
A. M. Zolot, F. R. Giorgetta, E. Baumann, J. W. Nicholson, I. Coddington, and N. R. Newbury, “Direct-comb molecular spectroscopy with accurate, resolved comb teeth over 43 THz”, OPTICS LETTER, 37, 638(2012).

## Slide 22: Setup

## Slide 23: Setup
Signal comb, local comb
SC generated by HNLF
Power : ~300 mW
Bandwidth : ~43THz
Repetition rate : 100 MHz are locked.
CEO frequencies are stabilized.
Δ = 100 Hz

## Slide 24: Multiple species spectroscopy
Black : full region of SC
SNR > 100
Phase noise : 0.01 rad
Absorbance noise : 0.02
Red : prism-filtered spectra
SNR > 3000
Phase noise : 330 μrad
Absorbance noise : 6.6*10-4

## Slide 25: Evaluate the accuracy
Line centers agree to within the ~10 MHz .
Measurements data(symbols) is coincides Doppler-limiter line(solid line) .

## Slide 26: Summary
Dual comb spectroscopy can probe multiple species of interest simultaneously over 43 THz.
Or select a subset of the bandwidth for increased SNR.

## Slide 27: Conclusion
High signal to noise ratio dual comb spectroscopy is attained by prism-filtering or by grating filtering.
By changing the repetition rate, 950 spectra/s attained.

## Slide 29: SNR of interferogram and spectra
Spike noise
Phase correction
Time-domain SNR with linear phase correction is increases as t1/2.