## Slide 1: Serial time-encoded amplified image for real-time observation of fast dynamic phenomena
PD Yi-Da Hsieh

## Slide 2: Introduction
Optical imaging is a widespread and versatile diagnostics and inspection tool in use today.
High-speed optical imaging is an effective tool for real-time observation of fast dynamical events such as shokwaves, laser fusion.

## Slide 3: Introduction
Serial time-encoded amplified imaging/microscopy (STEAM) .
Ref: http://www.sony.jp/cyber-shot/products/DSC-WX1/feature_1.html
<1M fps

## Slide 4: Dispersive Fourier transformation (DFT) (分散フーリエ変換)
A sufficiently large and linear GVD
As a gain medium.
Ref: K. Goda, et al. (2013) Nat. Phontonics, 7: 102.

## Slide 5: Method for DFT
~1,550 nm
800–1,000 nm

## Slide 6: Gas spectroscopy
Mode-locked ytterbium fiber laser
  Center wavelength: 1064nm.
  Repetition rate: 1.133MHz
10 GHz bandwidth photodiode
8 GHz bandwidth real-time oscilloscope
Ref: J. Hult, et al. (2007) Opt. Exp., 15: 11385.
Spectral width: 600nm

## Slide 7: Broadband absorption spectrum of a gas mixture (CH4 and H2O)
Average of 1000 wavelength sweeps
Total acquisition time: 0.9ms
Spectral resolution: 39pm

## Slide 8: STEAM camera
Ref: K. Goda, et al. (2009) Nature, 458: 1145.

## Slide 9: 2D spatial disperser

## Slide 10: Basic operation of the STEAM camera.

## Slide 11: The laser ablation experiment
Temporal resolution: 163ns

## Slide 12: High-throughput single-microparticle imaging flow analyzer
Ref: K. Goda, et al. (2012) Proc. Natl. Acad. Sci., 109: 11630.

## Slide 13: High-throughput single-microparticle imaging flow analyzer

## Slide 14: Comparison with a conventional CCD camera and a CMOS camera

## Slide 15: Rare Cell Detection
MCF7 (breast cancer cell) in blood
  Red blood cells are lysed with a hypotonic lysing agent.
  MCF7 cells are fixed with formaldehyde and coated with metal beads with a diameter of 1 μm via an antibody to EpCAM

## Slide 16: Result
Sensitivity: 75%
100,000 cells/s

## Slide 17: Summary
High-speed instruments capable of capturing fast transient events are seeing increasing demand as the physical processes of interest become more complex.
With its ability to perform fast continuous measurements, STEAM is expected to be useful for high-throughput screening and studying non-repetitive rare phenomena.