Takashi Ogura1, Kenta Hayashi1, Kosuke Nagai1, Yoshiaki Nakajima2,3, Hajime Inaba2,4, 
Kaoru Minoshima2,3, and Takeshi Yasui1,2

1Tokushima University, 2-1, Minami-Josanjima-cho, Tokushima, Tokushima 770-8506, Japan

2ERATO Intelligent Optical Synthesizer Project, JST, 1-5-1, Chofugaoka, Chofu, Tokyo 182-8585, Japan

3The University of Electro-Communications, 1-5-1, Chofugaoka, Chofu, Tokyo 182-8585, Japan

4National Institute of Advanced Industrial Science and Technology, 1-1-1 Umezono, Tsukuba, Ibaraki 305-8563, Japan

Real-Time Absolute Frequency Measurement of CW-THz Radiation Based on a Free-Running THz Comb

Abstract

Absolute frequency of continuous-wave terahertz radiation was determined at an acuracy of 10-11 in real time by modulating a frequency spacing of photocarrier terahertz comb induced by a free-running femtosecond laser.

Introduction

Frequency measurement is the most basic measurement technology in the light and electric waves, but in THz region (wavelength = 30 ~ 3000 μm, frequency = 0.1 ~ 10 THz) which has not been explored for a long time, it has been difficult to measure frequencies in THz region with high accuracy in a room temperature environment. Therefore, we have been researching THz-comb-referenced spectrum analyzer which enables high precision frequency measurement at room temperature environment by following the procedures described as below: First, generate photocarrier terahertz frequency comb (PC-THz comb) in photoconductive antenna (PCA). Second, mix CW-THz wave and the generated PC-THz comb. Finally, beat down the resultant signal to the RF region by photoconductive mixing [1, 2]. However, in these previous researches, it is necessary to measure beat frequencies before and after shifting comb interval (= repetition frequency) in order to determine the comb mode number that is nearest to the CW-THz wave. This temporally serial, two-step measurement has been an obstacle to the real-time measurement. Recently, the absolute frequency of fluctuating CW-THz wave has been determined by measuring two beat frequencies simultaneously using two PC-THz combs with different comb intervals [3]. However, the use of dual stabilized femtosecond lasers may hinder its wide use. In this paper, we report here that we realized high-speed absolute frequency measurement using a single, free-running, frequency-modulated PC-THz comb.

Principle

THz-comb-referenced spectrum analyzer is based on a heterodyne technique based on photoconductive mixing [1, 2]. Figure 1(a) shows the spectral behavior of PC-THz comb mode (freq. interval = frep) and CW-THz radiation (freq. = fTHz) in this method. When frep is modulated sinusoidally (maximum frep value = frep_max, minimum frep value = frep_min), fbeat is also modulated in synchronization with the modulated frep (maximum fbeat value = fbeat_max, minimum fbeat value = fbeat_min) as shown Fig. 1(b). If fluctuation of fTHz is much slower than modulation frequency of frep, the mode order m of PC-THz comb nearest in frequency to fTHz can be determined using the following equation.

Finally, fTHz is calculated as follow

Fig. 1.  Principle of operation.

Experimental setup

Figure 2 shows an experimental setup of the proposed method. A femtosecond fiber laser (center wavelength = 1550 nm, pulse duration = 50 fs) was operated in free-running condition around a repetition frequency of 100 MHz. Then frep is modulated sinusoidally at frequency of 100 Hz by changing the fiber cavity length with PZT. When a CW-THz radiation is incident onto a photoconductive antenna (PCA) for THz detection together with a frep-modulated laser beam, a beat signal between PC-THz comb mode and CW-THz radiation is generated from PCA as a current signal. The current beat signal was amplified by a current preamplifier. Temporal waveforms of the beat signal and the laser pulse signal are acquired at a sampling rate of 100 MHz by a fast digitizer. Instantaneous frequency values of them (fbeat and frep) were obtained using a Hilbert transform [4].

Fig. 2.  Experimental setup

Results

Figure 3(a) and 3(b) respectively show the temporal change of frep and fbeat when we used an active frequency multiplier chain (frequency range = 75~120 GHz, linewidth < 0.6 Hz, fTHz = 100.001,004 GHz) as a test source. From fbeat_max = 998 kHz, fbeat_min = 995 kHz, frep_max = 100.000,009 MHz, and frep_min = 100.000,006 MHz in Fig. 3(a), m was determined to be 1000. Finally, we confirmed that fTHz was fluctuated around 100.001,004 GHz as shown in Fig. 3(c). The determined fTHz coincided with the configured fTHz with accuracy of 10-11.

Conclusions

We measured the absolute frequency of the CW-THz radiation with accuracy of 10-11 in real time using a single, free-running, frep-modulated femtosecond laser. Although frep is actively modulated in this paper, the similar experiment will be performed using the natural walking of frep in the free-running laser.

Fig. 3.  Temporal change of (a) frep, (b) fbeat, and (c) fTHz.

- References

S. Yokoyama, R. Nakamura, M. Nose, T. Araki, and T. Yasui, "Terahertz spectrum analyzer based on a terahertz frequency comb," Opt. Express, vol. 16, pp. 13052-13061, Aug. 2008.

T. Yasui, R. Nakamura, K. Kawamoto, A. Ihara, Y. Fujimoto, S. Yokoyama, H. Inaba, K. Minoshima, T. Nagatsuma, and T. Araki, "Real-time monitoring of continuous-wave terahertz radiation using a fiber-based, terahertz-comb-referenced spectrum analyzer," Opt. Express, vol. 17, pp. 17034-17043, Sep. 2009.

K. Hayashi, H. Inaba, K. Minoshima, and T. Yasui, "Real-time absolute frequency measurement of CW-THz wave based on dual THz combs," in CLEO:Science and Innovations 2014, Technical Digest (CD) (Optical Society of America, 2014), paper Stu1F.4.

H. Füser, R. Judaschke, and M. Bieler, "High-precision frequency measurements in the spectral region using an unstabilized femtosecond laser," Appl. Phys. Lett., vol. 99, art. 121111, Sep.2011.