## Slide 1
Titles
D.G.Abdelsalam
By
1- High-precision microscopic phase imaging without phase unwrapping for cancer cell identification, OL (2013)
2- Label-free imaging of intracellular motility by low-coherent quantitative phase microscopy, OE (2011)
3- Wide-field optical detection of nanoparticles using on-chip microscopy and self-assembled nanolenses, Nature (2013)

## Slide 2
1- High-precision microscopic phase imaging without phase unwrapping for cancer cell identification, OL (2013), Japan
Cancer cell identification using high-precision optical path length with no phase unwrapping
Objective
Brief Introduction
Onion cells
embryo fibroblast cell

## Slide 3
The potential of this approach for cancer cell Identification by distinguishing normal cells from cancerous cells through comparison of their optical path length differences.
Index of refraction of cancer cells is relatively higher than
normal cells.
Brief Introduction
A
B
D1
D3
d
n2
D2
nucleus
nuclei
Plasma membrane
Cytoplasmic region
n3
n1
n1<n2<n3
C

## Slide 4
Setup
Controls the path length
Optical path length distr.
If the voltage applied to PZT compensates , ,we have the condition of phase locking as

## Slide 5
Phase sensitivity check
Planar light wave circuit (PLC) with known refractive index
Measured optical path length 52.0 nm
Theoretical (geometrical optics)
Example 1
Average of 10 times scan
1D optical path length (Exp.)
The sensitivity of optical path length is calculated by stv to be less than 2nm, n = 10, i.e. the error in measurement is 2nm
Spherical aberration

## Slide 6
Example 2 (grating), 3 (thick cells), and 4 cancer
Scanned in 2D over 20 x 20 micron
Nominal and measured pitch of 2.2 microns
Thick cells (about 3 lambda optical path length differences)
3D optical path length difference distribution of a breast cancer cell
nuclei form

## Slide 7
Summary and Conclusion
Cancer cells associated with higher optical path length difference than that of the normal cells
The system can measure transparent objects without using phase unwrapping process even if the thickness of the object is more than wavelength
Comment from the presenter
The calibration of voltage with displacement is not exactly linear, how did the authors calibrate the PZD for a high dynamic range?

## Slide 8
2- Label-free imaging of intracellular motility by low-coherent quantitative phase microscopy, OE (2011), Japan
Low-coherent interferometric technique and phase-referenced phase shifting technique were integrated to reveal the depth of intracellular motility without contrast agents.
Objective
Notes
This paper shows the 3D of quantitatively phase fluctuation caused by the motion of multiple-surfaces in cultured cells.
The authors used high NA with low-coherence light source
Axial and transversal resolutions were 0.93 and 0.56 microns
results revealed the depth fluctuations of the intracellular surfaces such as plasma membrane, reflecting surfaces in cytoplasmic region and the surface of substrate independently.

## Slide 9
Experimental setup based on Linnik configuration
Wavelength = 695nm
The feedback circuit controls the PZT1 arm to adjust the OPD by nanometer resolution

## Slide 10
Method, similar to OL , phase shifting 7 frame algorithm
327 nm
FWHM =930 nm
2π
OL work
OE work
Seven raw images
Optical Coherence Function
Optical path difference

## Slide 11
Results: human breast cancer cells (living)
To quantify the phase fluctuation, the authors used mean squared displacement (MSD)
Amplitude
f1
f2
f3
Cytoplasmic region
Plasma membrane

## Slide 12
Results: human breast cancer cells (dead)
The samples were fixed with 2% paraformaldehyde, after treatment, the cells died.
Amplitude
f1
f2
f3
Cytoplasmic region
Plasma membrane

## Slide 13
To see the nuclear membrane
To analyze the intracellular structure in detail. The authors captured the phase-fluctuation image at different heights
The authors claim that there is a spherical membrane inside the cell, which they believe is the nuclear membrane
Living cells
dead cells
Amplit
Amplit
Phase
Phase

## Slide 14
Summary and Conclusion
The authors used low coherent QPM to visualize the distribution of the fluctuations of the intracellelular surfaces and cell membrane.
This was done in the paper by using low-coherent interferometric technique and phase-referenced phase shifting technique without contrast agents.

## Slide 15
University of California
Objective
Compact, cost-effective and high-throughput optical microscopy technique that can detect individual sub-100 nm particles and moderately sized viruses across and ultralarge FOV of 20.2 mm2 is presented.
3- Wide-field optical detection of nanoparticles using on-chip microscopy and self-assembled nanolenses, Nature (2013)
Method
Digital holography – Angular spectrum method
Objects
Polystyrene nanoparticles, adenoviruses and influenza A (H1N1) viral particles

## Slide 16
Introduction
Nano scale objects are difficult to visualize using optical techniques (wavelength is greater than nano size)
0.2mm2
20mm2
AFM
Elect M
Super res.
Near field
Digital holography
Excellent resolution
Limited FOV
Without mechanical scanning
Adv. The technique does not
circumvent the optical diffraction limit
To boost spatial resolution

## Slide 17
Setup
Lensfress pixel super-resolution holography schematic
Z1 = 8-12 cm
Z2 = 300 micron
Create sub-pixel less than 1.12 micron image shifts on the detector plane, which are used to generate a pixel super-resolved holographic image
0.1 mm
CMOS (1.12 micron)
Pixel size
Sub-pixel
LED light
Nanoparticle
Several holograms from the same nanoparticle are captured with source shift of 0.1mm.
A single pixel super-resolved holographic image is then synthesized from these sub-pixel shifted holograms, and is finally reconstructed to yield phase and amplitude images of the Individual nanoparticles with their surrounding self-assembled liquid lenses.
Lambda = 480 nm
Spectral bandwidth
= 3nm, multimode fiber core size 0.1mm

## Slide 18
Sample preparation (nanoparticles)
SEM
Liquid nanolenses are assembled around each nanoparticle seated on hydrophilic surface
These liquid lenses acting as a spatial phase mask that enhance the diffraction signature of the embedded nanoparticles/nanolense
SEM
droplet

## Slide 19
Results
Lensfree holograms without nanolens
Lensfree holograms with nanolens

## Slide 20
Effect of no.of holograms in super-resolution on contrast of 95 nm particles
Increasing the number of holographic frames used in pixel super-resolution algorithm significantly enhance the contrast and the SNR of individual nanoparticles.
The combination of self-assembled liquid nanolenses and holographic computational on-chip microscopy enables the detection of individual sub-100 nm particles that are
Not visible with holographic imaging alone and have low contrast with conventional oil immersion objective lenses NA of (1.25).

## Slide 21
Particles of 95 nm and 198 nm with nanolenses

## Slide 22
Individual influenza A (H1N1) viruses and adenoviruses

## Slide 23
Summary and Conclusion
The authors introduced a compact, cost-effective and high throughput computational on-chip microscopy technique that can detect individual sub-100 nm particles and viruses across an ultralarge FOV of 20.5 mm2.
Through a wetting film-based method that induces self-assembled liquid nanolenses around individual particles, the authors reconstructed both amplitude and phase images of single nanoparticles that are otherwise undetectable with conventional microscopy.

## Slide 24: Thank you for listening. Any questions or suggestions?