## Slide 1: High-speed elipsometer
2015/06/11
PD Yi-Da Hsieh

## Slide 2: Introduction
Ellipsometer
Linearly polarized light
45°
d
Elliptically polarized light
D
Y
Sample

## Slide 3: Introduction
Null ellipsometer
Photometric ellipsometer

## Slide 4
Determination of retardation parameters of multiple-order wave plate using a phase-sensitive heterodyne ellipsometer
High speed interferometric ellipsometer
Dual-frequency paired polarization phase shifting ellipsometer
Ref) C. –H. Hsieh, et. al., Appl. Opt. 46: 5944 (2007)
Ref) C. –J. Yu., et., al., Opt. commun. 282:1516 (2009)
Ref) C. –C. Tsai, et., al., Opt. Express. 16: 7778 (2008)

## Slide 5: Birefringent material

## Slide 6: Experimental setup
Mach-Zehnder interferometer

## Slide 7: Method
Multiple-order wave plate
  A linear birefringent material

## Slide 8: Method

## Slide 9: Method
For a linearly birefringent medium ：

## Slide 10: Method

## Slide 11: Results

## Slide 12: Results
m=7
n0=1.5427
ne=1.5518
Error: 0.05%

## Slide 13: Summary
highly sensitive and accurate measurement of retardation parameters (RPs), which includes the refractive indices of the extraordinary ray ne and ordinary ray no, is obtained by this method.

## Slide 14
Determination of retardation parameters of multiple-order wave plate using a phase-sensitive heterodyne ellipsometer
High speed interferometric ellipsometer
Dual-frequency paired polarization phase shifting ellipsometer
Ref) C. –H. Hsieh, et. al., Appl. Opt. 46: 5944 (2007)
Ref) C. –J. Yu., et., al., Opt. commun. 282:1516 (2009)
Ref) C. –C. Tsai, et., al., Opt. Express. 16: 7778 (2008)

## Slide 15: Method
The polarized heterodyne signals at photo-detectors DP and DS can be expressed by
set

## Slide 16: Method
The output signal, from DA

## Slide 17: Experiment setup

## Slide 18: Results
Sample1: QWP

## Slide 19: Results
Sample2: Parallel aligned liquid crystal device (PALCD)

## Slide 20: Results
1kHz square wave

## Slide 21: Summary
high-speed interferometric ellipsometer not only able to measure ellipsometric parameters in real time but also to relax the requirement of equal amplitude of two polarized heterodyne signals.

## Slide 22
Determination of retardation parameters of multiple-order wave plate using a phase-sensitive heterodyne ellipsometer
High speed interferometric ellipsometer
Dual-frequency paired polarization phase shifting ellipsometer
Ref) C. –H. Hsieh, et. al., Appl. Opt. 46: 5944 (2007)
Ref) C. –J. Yu., et., al., Opt. commun. 282:1516 (2009)
Ref) C. –C. Tsai, et., al., Opt. Express. 16: 7778 (2008)

## Slide 23: Experiment setup

## Slide 24: Dual frequency laser
Linearly polarized light
Applied a sawtooth wave for EOM
０

## Slide 25: Dual frequency laser
With sawtooth wave

## Slide 26: Babinet Soleil compensator (BSC)

## Slide 27: Method
The Mueller matrices of BSC and analyzer are expressed as
A dual-frequency paired linearly polarized laser beam, which can be expressed by Stokes vector as:

## Slide 28: Method
If G of BSC is adjusted at 0° and QA is set either at 0° or 90° then:

## Slide 29: Method
Similarly, when the analyzer is set at 45°
Thus, D can be obtained by shifting the phase retardation G of BSC at 0, 90, 180, and 270 sequentially.

## Slide 30: Results
The calibrated step wafer in which the silicon dioxide thin film (Mikropack ID0153).

## Slide 31: Summary
The phase shifting technique integrated into DPPSE fully expands the dynamic range of EP. This overcomes the limitation of conventional ellipsometer based on intensity modulation in measurement